Competitive Enzyme Immunoassay for

Quantitative Analysis of Quinolones (QNS)

1. Background

Quinolones (QNS) are among the most important antibiotics during recent 20 years, which are broadly applied for broad-spectrum antibacterial, high efficiency, low toxicity and strong penetration in tissue. They are now frequently used as anti-infective in clinical veterinary and aquatic production. These drug lead to microbial resistances and carcinogenicity. The sign residue of Enrofloxacin(ENR) inside the body is ENR and Ciprofloxacin(CIF), and the drug concentration in liver and kidney is the highest, secondary is muscle and fat-inserted skins. The metabolite of ENR is CIF, it is still biologically active. Ofloxacin(OFL) exists in the body in the original form. Pefloxacin(PEF) is almost 100% metabolized into Nofloxacin(NOR).

This kit is a new generation product for drug residue detection based on ELISA technology. It is fast, simple, accurate and sensitive. and It requires only 1.5 hours in one operation, which considerably minimizes work intensity and operation error. It can be used for QNS residue detection in animal tissues(muscle, shrimp and fish, etc.),serum and honey. This kit is documented in Doc.558 of MOA in Oct.2005.

2. Test Principle

This ELISA kit is designed to detect quinolones based on the principle of "indirect-competitive" enzyme immunoassay. The microtiter wells are coated with capture BSA-linked quinolones antigen. Quinolones in the sample competes with the horseradish peroxidase labeled quinolones (enzyme-labeled antigen) for binding to the limited number of antibody sites on the microtiter plate. After the addition of a ready-to-use tetramethyl-benzidine (TMB)/peroxide substrate the signal is measured in an ELISA photometer. The absorption is inversely proportional to the quinolones concentration in the sample, compared with the standard curve, QNS residue in the sample can be calculated.

3. Applications

This kit can be used for qualitative and quantitative analysis of QNS residue in animal tissues(muscle, shrimp and fish, etc.),serum and honey ,etc.

4. Cross-reactions:

Enrofloxacin (ENR) …………………………… 100%

Ciprofloxacin (CIF)  ………………………… 96.3%

Ofloxacin (OFL)    ………………………… 125.0%

Danofloxacin (DAN) ………………………… 97.3%

Nofloxacin (NOR)  ………………………… 166.7%

Lomefloxacin (LOM) ………………………… 76.9%

Pefloxacin (PEF)    ………………………… 153.6%

Enoxacin (ENO)    ………………………… 105.3%

Oxolinic acid (OXO)………………………… 106.4%

Flumequine (FLU)   ………………………… 86.5%

Marbofloxacin (MAR)………………………… 90.5%

Amifloxacin (AMI)  ………………………… 110%

# Difloxacin……………………………………<1%

Sarafloxacin ……………………………………<1%

5. Materials Required

5.1 Equipments:

┅┅Microtiter plate spectrophotometer (450nm/630nm)

┅┅Rotary evaporator or nitrogen drying instruments

┅┅Homogenizer or stamocher

┅┅Shaker

┅┅Gyroscope  or vortex mixer

┅┅Centrifuge

┅┅Analytical balance (inductance: 0.01g)

┅┅Graduated pipette: 10ml

┅┅Rubber pipette bulb

┅┅ Volumetric flask : 100ml , 500ml ;

┅┅ Glass test tube : 10 ml ;

┅┅Polystyrene centrifuge tube: 15ml, 50ml

┅┅Micropipettes: 20(l～200(l、100(l～1000(l

250(l-multipipette

Reagents：

┅┅Acetonitrile (AR)

┅┅n-hexane (AR)

┅┅methylene chloride  (AR)

┅┅Sodium hydroxide  (AR)

┅┅disodium hydrogen phosphate dodecahydrate (AR)

┅┅sodium dihydrogen phosphate dihydrate  (AR)

┅┅heparin sodium (for blood sample)  (AR)

┅┅deionized water

6. Kit Components

1、Microtiter plate with 96 wells coated with coupling antigen

2、standard solutions(6 bottles:1ml/bottle)

0ppb，1ppb，3 ppb，9 ppb，27ppb，81ppb

3、High concentration standard control: (1ml/bottle)  1ppm

4、Enzyme-labeled secondary antibody solution 7ml…red cap

5、Antibody solution ( 7ml) …………………..…green cap

6、Solution A (7ml)……………………………white cap

7、Solution B (7ml)…………………………red cap

8、Stop solution (7ml) ………………………….…yellow cap

9.20×concentrated Wash solution(40ml)…transparent cap

10、2×Concentrated extraction solution (50ml)…blue cap

7. Reagents Preparation:

solution 1: 0.1M sodium hydroxide solution

Weigh 0.4g sodium hydroxide, dissolve with deionized water and dilute to 100ml;

solution 2: acetonitrile-0.1M sodium hydroxide solution

Mix 84ml anhydrous acetonitrile with 16ml 0.1M sodium hydroxide solution;

solution 3：extraction solution (for aquatic products)

Mix 50ml acetonitrile with 10ml 0.1M sodium hydroxide solution;

solution 4: acetonitrile-methylene chloride solution

(for serum samples):

Mix 50ml acetonitrile and 50ml methylene chloride;

solution 5: pH7.2  0.02M  phosphate buffer solution

Weigh 5.16g disodium hydrogen phosphate dodecahydrate and 0.87g sodium dihydrogen phosphate dihydrate, dissolve with deionized water , dilute to 1L ;

solution 6: pH7.2  0.05M  phosphate buffer solution (for honey sample)

Weigh 12.9g disodium hydrogen phosphate dodecahydrate and  2.18g sodium dihydrogen phosphate dihydrate, dissolve with deionized water and dilute to 1L;

solution 7: Extraction solution

Dilute the concentrated extraction solution with deionized water in the volume ratio of 1: 1, which will be used for sample extraction. This solution can be conserved for a month at 4℃.

solution 8: Wash solution

Dilute the concentrated wash solution with deionized water in the volume ratio of 1:19(or according to the requirement), which will be used to rinse the plates. The diluted wash solution can be conserved for a month at 4℃.

8. Sample Preparations

8.1 Notice and precautions for the users before operation:

(a) Please use one-off tips in the process of experiment, and change the tips when absorbing different reagent.

(b) Make sure that all experimental instruments are clean.

(c) Treated samples should be kept in freeze ;

(d) Treated samples (except serum samples treated with Method I)that are not used should be kept in polystyrene tube for 24h at  2-8℃;

(e) Serum samples treated with Method I should be used for assay immediately ;

8.2 Animal tissue samples (muscle and liver of chicken and pig)

(a) Samples of High detection limit :

-----homogenize the samples with homogenizer or stamocher ;

-----Weigh 3.0±0.05g homogenized tissue sample into a 50ml centrifuge tube.

-----Add 9ml acetonitrile-0.1M NaOH solution, mix completely for 10min, and then centrifuge for 10min ,at lease 3000g,at 15℃;

-----Take 4ml of the supernatant liquid, add 4ml 0.02 M phosphate buffer solution, then add 8ml methylene chloride, mix completely for 10min, and then centrifuge for 10min ,at lease 3000g,at 15℃,remove the supernatant phase, and then transfer 6ml of the substrate organic phase( transparent with no impurity) into a dry 10ml tube, dry with 50～60℃ nitrogen gas flow

-----Dissolve the dry residue with 0.5ml diluted extraction solution(see solution 7), whorl for 2min, and then mix with 1ml n-hexane, whorl for 2min, centrifuge: at lest 3000g, 15℃, for 5 min.

-----Remove the impurity in the supernatant n-hexane gently, take 50ul of the substrate for assay.

Note: For sample extraction from aquatic products such as shrimp and fish, if there is too much bubble or jelly between the two phases, and if it is difficult to get out the substrate extraction solution, the sample tube should be kept in the 80℃ water bath kettle for 5min before centrifuge.

(b) Aquatic products (fish and shrimp)

-----Homogenize the samples with homogenizer or stamocher;

-----Weigh 4.0g±0.05 of the homogenate into a 50ml polystyrene centrifuge tube, add 12 ml extraction solution(see solution 3), shake for 5min, then centrifuge for 5min , at least 3000g;

----- Take 6ml of the supernate, add 6ml 0.02 M phosphate buffer solution (see solution 5), then add 7ml methylene chloride, shake for 5min, then centrifuge for 5min at 15℃, at least 3000g;

-----Remove the impurity in the supernatant phase, take 6ml of the substrate organic phase into a 10ml clean glass tube, dry with 50～60℃ nitrogen gas flow ;

----- Then ad 0.5ml 0.02 M phosphate buffer solution (see solution 5), whorl for 2min to dissolve the dry leftover, add 1ml n-hexane, whorl for 30s, centrifuge for 5min , at least 3000g ;

----- Remove the supernatant phase, and take 50μl of the substrate phase for assay ;

(c) Samples of low detection limit :

┅┅Homogenize the samples with homogenizer or stamocher ;

┅┅Weigh 2.0±0.05g of the homogenate into a 50ml polystyrene centrifuge tube, then add 8ml 0.02M phosphate buffer solution (see solution 5), shake for 10min, centrifuge  at 15℃ for 10min, at least 3000g (if the supernate is still muddy, then take 2ml of which and repeat centrifuge step again);

┅┅Take 50(l of the supernate , add 200(l extraction solution (see solution 7 ). Mix completely ;

---Take 50µl of the mixture per well in the assay.

8.3 Chicken blood :

(a) Plasma samples:

---Collect the blood sample with centrifuge tubes contained Heparin Sodium (20-30 U/ml blood), and keep the sample tubes at room temperature for 1 hour. After plasma separated, centrifuge: at lest 3000g, 15℃, for 10 min. Transfer 1ml plasma into a 10ml clean glass tube.

---Add 4ml acetonitrile(anhydrous), mix and shake for 10min, centrifuge: at lest 3000g, 15℃, for 10 min.

--- Transfer the supernatant into another 10ml clean polystyrene centrifuge tube, mix with 2ml 0.02M phosphate buffer solution (see solution 5), whorl with gyroscope  or vortex mixer to mix completely ;

---Add 5ml methylene chloride and mix for 10min, centrifuge: at lest 3000g, 15℃, for 10 min. Remove the supernatant phase, and transfer the substrate to a new dry tube (should be almost clear), then dry with 50～60℃  nitrogen gas flow

---Dissolve the residue with 0.6ml diluted extraction solution(see solution 7), and then mix with 1ml n-hexane for 2min, centrifuge: at least 3000g, 15℃, for 5min.

--- Remove the supernate and middle-level impurity gently, transfer 100µl of the substrate, and then add 100µl diluted extraction solution.

---Take 50µl of the mixture per well in the assay.

(b) Serum  samples :

┅┅Keep the collected blood at room temperature until the serum separates out;

┅┅Transfer 0.5mlof the serum sample into a 10ml clean polystyrene centrifuge tube, add 4ml acetonitrile- methylene chloride solution (see solution 4),shake fiercely for 5min with shaker, then centrifuge at room temperature (20℃～25℃) for 8min , at least 3000g;

┅┅Take 2ml of the supernate into a 10ml clean glass test tube, dry with 50～60℃ nitrogen gas flow ;

┅┅Add 1ml n-hexane, whorl for 10s, then add 1ml extraction solution (see solution 7), whorl for 1min, t then centrifuge at room temperature (20℃～25℃) for 5min , at least 3000g;

┅┅Remove the supernatant organic phase, and take 50µl of the substrate water phase for assay;

8.4 Honey sample:

┅┅Weigh 1.0±0.05g honey sample into a 50ml polystyrene centrifuge tube, add 2ml  0.05 M phosphate buffer solution (see solution 6), shake with shaker to dissolve completely;

┅┅Add 8ml methylene chloride, shake for 5min with shaker, then centrifuge for 5min, at least 3000g;

┅┅Remove the supernatant phase gently , take 4ml of the substrate phase into a 10ml clean glass test tube, dry with 50～60℃ nitrogen gas flow;

┅┅Dissolve the dry leftover with 1ml 0.05M phosphate buffer solution(see solution 6) ;

┅┅Take 50(l of the prepared solution for assay ;

8.5 Egg sample:

---Homogenize the egg with homogenizer or stamocher at low speed to mix the egg white and yolk completely;

---Weigh 2.0g±0.05g of the homogenized egg into a 15ml polystyrene centrifuge tube,  add 8ml acetonitrile , shake for 5min ;

---Take 2ml of the supernate into a 10ml clean glass tube, dry with 50～60℃ nitrogen gas flow;

---Add 1ml n-hexane , whorl for 1min ;

---Add 1ml extraction solution (see solution 7), whorl for 1~2min, then centrifuge at room temperature for 5min , at least 3000 g ;

---Remove the supernatant organic phase, take 50ul of the substrate phase per well for assay.

9. Assay process

9.1 Notice before assay:

9.1.1 Make sure all reagents and microwells are all at room temperature (20-25℃).

9.1.2 Return all the rest reagents to 2～8℃ immediately after used.

9.1.3 Washing the microwells correctly is an important step in the process of assay; it is the vital factor to the reproducibility of the ELISA analysis.

9.1.4 Avoid the light and cover the microwells during incubation.

9.2 Assay Steps:

9.2.1 Take all reagents out at room temperature (20-25℃) for more than 30min, homogenize before use.

9.2.2 Get the microwells needed out and return the rest into the zip-lock bag at 2-8℃ immediately.

9.2.3 The diluted wash solution should be rewarmed to room temperature before use.

9.2.4 Number: Number every microwell position and all standards and samples should be run in duplicate. Record the standards and samples positions.

9.2.5 Add standard solution/sample: Add 50 µl of standard solution or prepared sample to corresponding wells. Add 50µl enzyme labeled secondary antibody solution, 50µl antibody solution, mix gently by shaking the plate manually and incubate for 60min at 25℃ with cover.

9.2.6 Wash: Remove the cover gently and pure the liquid out of the wells and rinse the microwells with 250µl diluted wash solution (see solution 8) at interval of 10s for 4~5 times. Absorb the residual water with absorbent paper (the rest air bubble can be eliminated with unused tip).

9.2.7 Coloration: Add 50µl solution A and 50µl solution B to each well. Mix gently by shaking the plate manually and incubate for 30 min at 25℃ with cover(see 12.8).

9.2.8 Measure: Add 50µl the stop solution to each well. Mix gently by shaking the plate manually and measure the absorbance at 450nm against an air blank (It’s suggested measure with the dual-wavelength of 450/630nm. Read the result within 5min after addition of stop solution. ) (We can also measure by sight without stop solution in short of the ELIASA instrument)

10. Results

There are 2 different methods to determinate the results. Method 1 leads to a round estimation, and method 2 leads to definite quantity estimation. (Please notice: the absorption is inversely proportional to the QNS concentration in the sample.)

10.1 Round estimation

We can get the range of different strengths from the compare of average absorption and standards by sight. For example, the absorption of sample 1 is 0.258, sample 2 0.956, and the absorptions of sulfonamides standard solutions: 1.832(0ppb); 1.580(1ppb); 1.150(3ppb); 0.654(9ppb); 0.356(27ppb); 0.191(81ppb). So we can say the strength of diluted sample 1 is between 27ppb to 81ppb; and diluted sample 2 between 3ppb to 9ppb.

10.2 Definite quantity estimation

The mean values of the absorbance values obtained from the standards and the samples are divided by the absorbance value of the first standard (zero standard ) and multiplied by 100%.

B

Absorbance (%) = —— ×100%

B0

B ——the mean absorbance value of each standards or each samples

B0 ——absorbance value of zero standard

---To draw a standard curve: The absobance value of standards as y-axis, semilogarithmic of the concentration of the standards (ppb) as x-axis.

---The QNS concentration of each sample(ppb), which can be read from the calibration curve, is multiplied by the corresponding dilution rate of each sample followed, and the actual concentration of sample is obtained.

Notice:

For evaluation of the ELISA kits special software has been developed for exact and rapid analysis. The analysis software can be ordered on request.

Dilution multiple of samples :

Honey sample: 2

Egg sample: 2

Sample of high detection limit:

Tissue sample :1

Aquatic products : 0.5

Plasma sample: 2

Serum sample: 4

Sample of low detection limit:

Tissue sample: 20

11. Sensitivity, accuracy and precision

Test Sensitivity: 1ppb

Detection limit of quinolones drugs:

Enrofloxacin (ENR) ………………………… 2ppb

Ciprofloxacin (CIF)………………… Approx.2ppb

Ofloxacin(OFL) ……………………  Approx. 2ppb

Danofloxacin (DAN)…………………Approx. 2ppb

Nofloxacin (NOR) ……………………Approx. 1ppb

Lomefloxacin (LOM) …………………Approx. 2ppb

Pefloxacin(PEF) ………………………… Approx. 1ppb

Enoxacin (ENO) ………………………… Approx. 2ppb

Oxolinic acid (OXO) ……………………Approx. 2ppb

Flumequine(FLU) ……………………… Approx. 2ppb

Marbofloxacin (MAR)  …………………Approx.2ppb

Amifloxacin (AMI） ……………………Approx. 2ppb

Detection limit :

honey……………………………………………… 2ppb

plasma………………………………………………2ppb

serum (high detection limit)…………………………4ppb

serum (low detection limit)…………………………20ppb

Tissue (high detection limit)…………………………1ppb

Aquatic products…………………………………… 0.5ppb

Tissue (low detection limit)…………………………20ppb

egg………………………………………………… 2ppb

Accuracy:

Tissue samples(chicken, pork, fish and shrimp)…… 85±20%

Serum samples………………………………………80±20%

Honey samples………………………………………75±15%

Egg samples …………………………………………80±10%

Precision:

Variation coefficient of the ELISA kit is less than 10%.

12. Notice

12.1 The mean values of the absorbance values obtained for the standards and the samples will be reduced if the reagents and samples have not been regulated to room temperature (20-25℃).

12.2 Do not allow microwells to dry between steps to avoid unsuccessful reproducibility and operate the next step immediately after tap the microwells holder.

12.3. Homogenize each reagent before using.

12.4. Keep your skin away from the stop solution for it is the 2M H2SO4 solution.

12.5 Don’t use the kits out of date. Don’t exchange the reagents of different batches, or else it will drop the sensitivity.

12.6 Storage condition:

Keep the ELISA kits at 2-8℃, do not freeze. Seal rest microwell plates, Avoid straight sunlight during all incubations. Covering the microtiter plates is recommended.

12.7 Indications for the reagents going bad:

Substrate solution should be abandoned if it turns colors.

The reagents may be turn bad if the absorbance value (450/630nm) of the zero standard is less than 0.5(A450nm＜0.5).

12.8 The coloration reaction need 20-30min after the addition of solution A and solution B; But you can prolong the incubation time ranges to 35min or more if the color is too light to be determined., never exceed 40min, On the contrary, shorten the incubation time properly.

12.9 The optimal reaction temperature is 25℃. Higher or lower temperature will lead to the changes of sensitivity and absorbance values.

13. Storage condition and storage period

Storage condition: 2-8℃.

Storage period: 6 months.