Competitive Enzyme Immunoassay Kit for

Quantitative Analysis of Benzyl penicillin

1. Background

Benzyl penicillin (BP) is a broadly applied antibiotic, which once played very important role in preventing and curing animal diseases. For it causes anaphylactic reaction and resistance, in EU ,US and China, it is being restricted. The common instrumental analysis of this drug is limited because of the complicated operation and high expense, while this kit is a new product based on ELISA technology, which is fast, easy, accurate and sensitive compared with common instrumental analysis and only needs 1.5 hours in one detection, so it can considerably minimize operation error and work intensity.

2. Test Principle

This kit is based on indirect-competitive ELISA technology. The microtiter wells are coated with coupling antigen. BP residue in the sample competes with the antigen coated on the microtiter plate for the antibody. After the addition of enzyme labeled anti-antibody, TMB substrate is used to show the color. Absorbance of the sample is negatively related to the BP reside in it, after comparing with the Standard Curve, multiplied by the dilution factor, BP residue quantity in the sample can be calculated.

3. Applications

This kit can be used in quantitative and qualitative analysis of BP residue in animal tissue (muscle, liver, shrimp and fish), honey and milk,etc.

4. Cross-reactions

Benzyl penicillin (BP)…………………………… 100%

ampicillin ………………………………….……… 0.7%

cloxacillin ………………………………………… 0.2%

dicloxacillin ……………………………………… 0.1%

amoxicillin …………………………………..……<0.1%

Ceftiofur …………………………………….……<0.1%

5. Materials Required

5.1 Equipments

┅┅Microtiter plate spectrophotometer(450nm/630nm)

┅┅Rotary evaporator or nitrogen gas drying system

┅┅homogenizer Or Stomacher

┅┅shaker

┅┅gyroscope Or Vortex mixer

┅┅centrifuge

┅┅Analytical balance (inductance: 0.01g)

┅┅Graduated pipette: 10ml

┅┅Rubber pipette bulb

┅┅polystyrene centrifuge tubes: 50ml

┅┅glass test tube:10ml

┅┅Volumetric flask:100ml、500ml

┅┅Micropipettes:20ul~200ul,200ul~10000ul, 250ul-multipipette

5.2 Reagents

----Sodium hydroxide(AR)

----Acetonitrile (AR)

----N-hexane(AR)

----Deionized water

---- sodium nitroferricyanide dihydrate (for milk sample) (AR)

----Zinc sulphate heptahydrate (for milk sample) (AR)

----Concentrated sulfuric acid  (for honey sample)

----Concentrated hydrochloric acid (for honey sample)

6. Kit Components

1、Microtiter plate with 96 wells coated with coupling antigen

2、Standard solutions(6 bottles,1ml/bottle)

0ppb，0.1ppb，0.3ppb，0.9ppb，2.7ppb，8.1ppb

3、High concentration standard control: (1ml/bottle)1ppm

4、Enzyme-labeled secondary antibody solution 12ml…red cap

5、Antibody solution 7ml………………..green cap

6、Solution A 7ml …………………………white cap

7、Solution B 7ml ……………………….…red cap

8、Stop solution 7ml ………………………yellow cap

9、20×Concentrated wash solution 40ml. ..transparent cap

10、2×Concentrated extraction solution 50ml… .. blue cap

7. Reagents Preparation

Solution 1: 0.1M Sodium hydroxide solution(for Method II of milk sample , tissue sample)

Dissolve 0.4g Sodium hydroxide e with deionized water and dilute to 100ml;

Solution 2: acetonitrile-0.1M Sodium hydroxide solution (for Method II of milk sample , tissue sample)

Take 84ml acetonitrile and mix with 16ml 0.1M Sodium hydroxide solution ;

Solution 3: Solution C：(for Method I of milk sample)

0.36M sodium nitroferricyanide dehydrate solution (Na2Fe(CN)5·NO·2H2O)

Dissolve 10.7g sodium nitroferricyanide dehydrate with deionized water and dilute to 100ml;

Solution 4: Solution D： (for Method I of milk sample)

1M Zinc sulphate solution

Dissolve 28.8g zinc sulphate heptahydrate with deionized water and dilute to 100ml;

Solution 5: acidified acetonitrile solution (for honey sample)

Take 100ml acetonitrile and mix with  150(l 2M sulfuric acid;

Solution 6: 1M hydrochloric acid solution (for honey sample)

Dilute 41.7ml concentrated hydrochloric acid with deionized water, and dilute to 500ml;

Solution 7：1M Sodium hydroxide solution(for honey sample)

Dissolve 4 g sodium hydroxide with deionized water and dilute to 100ml;

Solution 8: Extraction solution

Dilute 2×concentrated extraction solution with deionized water in the volume ration of 1:1, which will be used for sample extraction. This solution can be stored for 1 month at 4℃.

Solution 9: wash solution

Dilute 20×Concentrated wash solution with deionized water in the volume ratio of 1: 19, which will be used to wash the plates. This diluted solution can be stored for 1 month at 4℃.

8. Sample Preparations

8.1 Notice and precautions for the users before operation

(a) Please use one-off tips in the process of experiment, and change the tips when absorbing different reagent.

(b) Make sure that all experimental instruments are clean.

8.2 Tissue sample(meat and liver of  chicken, duck and pig, fish and shrimp)

----Homogenize the samples with homogenizer (or stomacher);

----Weigh 2.0±0.05g of the homogenate into a 50ml polystyrene centrifuge tube, add 8ml acetonitrile-0.1M Sodium hydroxide solution, whorl for 2min with gyroscope (or vortex mixer ), shake for 20min with shaker, then centrifuge at room temperature (20-25℃ ) for 10min, at least 3000g;

----Take out 1ml of the supernate into a 10ml clean glass test tube , dry with 50～60℃ water bath nitrogen gas flow;

----Dissolve the dry leftover with 1ml n-hexane, then add 1ml extraction solution, mix completely, centrifuge at room temperature (20-25℃ ) for 5min, at least 3000g;

----Remove the supernatant n-hexane phase, and dilute the substrate water phase with extraction solution in the volume ratio of 1:4 ( 50(l extracted sample solution +  200(l extraction solution );

----Take 50 (l of the prepared solution for assay .

8.3 Honey sample

----Weigh 4.0±0.05g honey sample into a centrifuge tube, then add 0.5ml sodium hydroxide solution ,shake with shaker ,then keep steady for 20min;

----Add 0.5ml 1M hydrochloric acid solution, shake with shaker (its pH is about 3, if not, please regulate with hydrochloric acid or sodium hydroxide solution ), then add 7ml acidified acetonitrile solution (the pH is about 4.0), shake for 10min with shaker, then centrifuge at room temperature (20-25℃) for 10min,at least 3000g;

----Take 3ml of the supernate into a 10ml clean glass tube, dry with 50～60℃ water bath nitrogen gas flow;

----Dissolve the dry leftover with 1ml extraction solution ;

----Take 50 (l of the prepared solution for assay .

8.4 Milk sample

Method I for milk sample

----Take 2ml fresh milk into a 5ml centrifuge tube, then add  50(l Solution C;

----Add 50(l Solution D, shake for 1min with shaker, then centrifuge at 10℃ for 10min , at least 3000g;

----Dilute the supernate with extraction solution in the volume ratio of 1:19 (20(l extracted sample solution+380(l extraction solution);

----Take 50 (l of the prepared solution for assay .

Note: Please repeat the deposition step if the solution is still muddy after centrifuge.

Method II for milk sample:

----Take 2ml degreased milk sample into a centrifuge tube;

----Add 8ml acetonitrile-0.1M sodium hydroxide solution, shake for 10min with shaker, then centrifuge at 15℃ for 10min, at least 3000g, take 1ml of the supernate into a 10ml clean glass tube, dry with 50～60℃ water bath nitrogen gas flow;

---- Dissolve the dry leftover with 1ml n-hexane, then add 1ml extraction solution, mix completely, centrifuge, then remove the n-hexane phase;

----Dilute the substrate phase with extraction solution in the volume ration of 1:3(50(l sample solution +150(l extraction solution);

----Take 50 (l of the prepared solution for assay .

9. Assay process

9.1 Notice before assay

9.1.1 Make sure all reagents and microwells are all at room temperature (20-25℃).

9.1.2 Return all the rest reagents to 2～8℃ immediately after used.

9.1.3 Washing the microwells correctly is an important step in the process of assay; it is the vital factor to the reproducibility of the ELISA analysis.

9.1.4 Avoid the light and cover the microwells during incubation.

9.2 Assay Steps

9.2.1 Take all reagents out at room temperature (20-25℃) for more than 30min, homogenize before use.

9.2.2 Get the microwells needed out and return the rest into the zip-lock bag at 2-8℃ immediately.

9.2.3 The diluted wash solution should be rewarmed to be at room temperature before use.

9.2.4 Number: Numbered every microwell positions and all standards and samples should be run in duplicate. Record the standards and samples positions.

9.2.5Add standard solution/sample: Add 50 µl of standard solution or prepared sample to corresponding wells. Add 50µl antibody solution. Mix gently by rocking the plate manually and incubate for 30min at 37℃ with cover.

9.2.6 Wash: Remove the cover gently and pour the liquid out of the wells and rinse the microwells with 250µl diluted wash solution (solution 9) at interval of 10s for 4~5 times. Absorb the residual water with absorbent paper (the rest air bubble can be eliminated with unused tip).

9.2.7Enzyme-labeled secondary antibody: Add Enzyme-labeled secondary antibody 100(l to each well, Mix gently by rocking the plate manually and incubate for 30min at 37℃ with cover. Repeat the wash step again.

9.2.8 Coloration: Add 50µl solution A and 50µl solution B to each well. Mix gently by rocking the plate manually and incubate for 15min at 37℃ with cover(see 12.8).

9.2.9 Measure: Add 50µl the stop solution to each well. Mix gently by rocking the plate manually and measure the absorbance at 450nm against an air blank (It’s suggested measure with the dual-wavelength of 450/630nm. Read the result within 5min after addition of stop solution. ) (We can also measure by sight without stop solution in short of the ELIASA instrument).

10. Results

There are 2 different methods to determinate the results. Method 1 leads to a round estimation, and method 2 leads to definite quantity estimation. (Please notice: the absorption is inversely proportional to the BP concentration in the sample.)

10.1 Round estimation

We can get the range of different strengths from the compare of average absorption and standards by sight. For example, the absorption of sample 1 is 0.110, sample 2 is 0.820, and the absorptions of BP standard solutions: 1.880 (0ppb); 1.360(0.1ppb);0.986(0.3ppb); 0.509(0.9ppb); 0.1906(2.7ppb); 0.079(8.1ppb). So we can say the strength of diluted sample 1 is between 2.7ppb and 8.1ppb; and diluted sample 2 between 0.3 ppb to 0.9 ppb. In order to obtain the BP actually contained in a sample, the diluted sample results must be further multiplied by the corresponding Dilution factor.

10.2 Definite quantity estimation

(1) The mean values of the absorbance values obtained for the standards and the samples are divided by the absorbance value of the first standard (zero standard ) and multiplied by 100%. The zero standard is thus made equal to 100% and the absorbance values are quoted in percentages.

B ——absorbance standard (or sample)

B0 ——absorbance zero standard

(2) To draw a standard curve: Take the absorbance value of standards as y-axis, semi logarithmic of the concentration of the BP standards solution (ppb) as x-axis.

--- The BP concentration of each sample (ppb), which can be read from the calibration curve, is multiplied by the corresponding Dilution factor of each sample followed, and the actual concentration of sample is obtained.

Please notice:

For evaluation of the ELISA kits special software has been developed for exact and rapid analysis. The analysis software can be ordered on request.

Dilution factor of samples：

Tissue sample：20

Honey sample：1

Milk sample：20

11. Sensitivity, accuracy and precision

Test Sensitivity: 0.1ppb

Detection limit:

Tissue sample…………………………………2ppb

Honey and  milk sample…………………………………2ppb

Accuracy:

Meat and liver of chicken, duck and pig; fish and shrimp…. 85±10%

Honey and milk…………………………… 70±10%

Precision:

Variation coefficient of the ELISA kit is less than 10%.

12. Notice

12.1 The mean values of the absorbance values obtained for the standards and the samples will be reduced if the reagents and samples have not been regulated to room temperature (20-25℃).

12.2 Do not allow microwells to dry between steps to avoid unsuccessful reproducibility and operate the next step immediately after tap the microwells holder.

12.3. Homogenize each reagent before using.

12.4. Keep your skin away from the stop solution for it is the 2M H2SO4 solution.

12.5 Don’t use the kits out of date. Don’t exchange the reagents of different batches, or else it will drop the sensitivity.

12.6 Storage condition:

Keep the ELISA kits at 2-8℃,do not freeze. Seal rest microwell plates, Avoid straight sunlight during all incubations. Covering the microtiter plates is recommended.

12.7 Indications for the reagents going bad:

Substrate solution should be abandoned if it turns colors.

The reagents may be turn bad if the absorbance value (450/630nm) of the zero standard is less than 0.5(A450nm＜0.5).

12.8 The coloration reaction need 10-15min after the addition of solution A and solution B; But you can prolong the incubation time ranges from 20min to more if the color is too light to be determined., never exceed 30min,On the contrary, shorten the incubation time properly.

12.9 The optimal reaction temperature is 37℃. Higher or lower temperature will lead to the changes of sensitivity and absorbance values.

13. Storage condition and storage period

Storage condition: 2-8℃.

Storage period: 6 months