Competitive Enzyme Immunoassay Kit for Quantitative Analysis of

Sulfanilamide (SAs) Residue Detection (7-in-1)

1. Background

SAs are broadly applied bacteriophages, which are very important in controlling and curing animal disease. These drugs have very serious side effects and will lead to SAs resistance of some bacilus if they exist in human body for a long period. They also have potential carcinogenecity.Doc.235 of Ministry of Agriculture prescribes that the residue limit of SAs is 100(g/kg.

This kit is a new generation product for drug residue detection based on ELISA technology. It is fast, simple, accurate and sensitive. And it requires only 1.5 hours in one operation, which considerably minimizes work intensity and operation error. This kit is documented in Doc.558 of MOA in Oct.2005.

2. Test Principle

This kit is based on indirect-competitive ELISA technology. The microtiter wells are coated with coupling antigen. Drug residue including sulfamonomethoxine, sulfadiazine, sulfamethoxazole and sulfathiazole in the sample competes with the antigen coated on the microtiter plate for the antibody. After the addition of enzyme labeled anti-antibody, TMB substrate is used to show the color. Absorbance of the sample is negatively related to the SAs residing in it, after comparing with the Standard Curve, multiplied by the dilution factor, SAs residue quantity in the sample can be calculated.

3. Applications

This kit can be used in quantitative and qualitative analysis of SAs residue (SMM, SD/SDZ, SMZ, ST, PST, SMT and SD ) in animal tissue (muscle, liver, fish and shrimp), eggs, honey, milk and serum.

4. Cross-reactions

Sulfadiazine(SD or SDZ)……………………100.0%

Sulfamonomethoxine (SMM)……… ……….97.6%

sulfamethoxazole (SMZ) ……………………169.0%

sulfathiazole (ST)…………………………….188.0%

Phthalylsulfathiazole (PST)…………………..62.8%

Sulfamethizole …………………………….……103%

Sulfapyridinee…………………………………51.9%

Sulfamethazine ……………………… …………<1%

Sulfadimethoxine ……………………………..…<1%

Sulfaquinoxaline …………………………………<1%

Sulfamerazine……………………………………..<1%

5. Materials Required

5.1 Equipments

┅┅Microtiter plate spectrophotometer (450nm/630nm)

┅┅Rotary evaporator or nitrogen drying instruments

┅┅Homogenizer (or stomacher)

┅┅Shaker

┅┅Gyroscope (or mixer)

┅┅Centrifuge

┅┅Analytical balance (inductance: 0.01g)

┅┅Graduated pipette: 10ml

┅┅Rubber pipette bulb

┅┅volumetric flask：100ml、500ml、1L

┅┅glass test rube：10ml

┅┅Polystyrene Centrifuge tube :2ml、50ml

┅┅Micropipettes: 20(l～200(l、100(l～1000(l

250(l -multiple

5.2 Reagents

┅┅Acetonitrile (AR) (For animal tissues)

---- Ethyl acetate (AR)

----N-hexane (AR)

---- Disodium hydrogen phosphate 12-hydrate (AR)

---- Sodium dihydrogen phosphate dihydrate (AR)

---- Sodium hydroxide (AR)

---- Concentrated hydrochloric acid

----deionized water

6. Kit Components

1、Microtiter plate with 96 wells coated with coupling antigen

2、Standard solutions(6 bottles×1ml/bottle)

0ppb，2ppb，4ppb，8ppb，16ppb，32ppb

3、High concentrated standard control: (1ml/bottle) 1ppm

4. Concentrated enzyme-labeled secondary antibody solution         12 ml ………red cap

5、Antibody working fluid 10ml ………………… green cap

6、Solution A  7ml …………………..............… white cap

7、Solution B  7ml ………………….................… red cap

8、stop solution  7ml……...........................… yellow cap

9、20×Concentrated wash solution40ml…transparent cap

10、20×Concentrated extraction solution 50ml…blue cap

7. Reagents Preparation

Solution 1: 0.02M phosphate buffer solution

Weigh 5.16g disodium hydrogen phosphate 12-hydrate, 0.87g potassium dihydrogen phosphate dihydrate, dilute to 1L with deionized water.

Solution 2: 0.5 M hydrochloric acid solution

Measure 20.75ml concentrated hydrochloric acid and dilute to 500ml with deionized water.

Solution 3: 0.2 M sodium hydroxide solution

Dissolve 4.0g sodium hydroxide with deionized water and dilute to 500 ml.

Solution 4: extraction solution

Dilute the 20×concentrated extraction solution with deionized water in the volume ration of 1:19(or depend on requirement), which will be used for sample extraction. This diluted solution can be conserved for 1 month at 4℃.

Solution 5: wash solution

Dilute the 20×concentrated wash solution with deionized water in the volume ration of 1:19(or depend on requirement), which will be used to wash the plates. This diluted solution can be conserved for 1 month at 4℃.

8. Sample Preparations

8.1 Notice and precautions for the users before operation

(a) Please use one-off tips in the process of experiment, and change the tips when absorb different reagent.

(b) Make sure that all experimental instruments are clean.

(c) Samples that are treated with low limit sample treat method can not be conserved, must be used for assay after diluted with extraction solution.

(d) Samples that are treated with other methods can be conserved at 4℃ for 24 hours.

8.2 high detection limit samples

(a)Animal tissues (chicken, chicken liver, pork, pig liver, eggs)

┅┅Homogenize the egg sample with homogenizer at low speed to completely mix the egg white and yolk

┅┅Weigh 2.0±0.05g homogenate to a 50ml polystyrene centrifuge tube, add 8ml Acetonitrile, shake immediately with shaker for 20min, and then centrifuge for 5min,at least 3000g.

┅┅Take 2.5ml of the supernatant liquid to a 10ml clean test tube, dry it with 50～60℃ water bath nitrogen flow.

┅┅Add 1ml n-hexane ,whorl 20s to dissolve the dry leftover, and then add 1ml 0.02 M phosphate buffer solution(see solution 1),whorl for 1min with gyroscope, centrifuge for 10min, at least 3000g.

┅┅Remove the supernatant N-hexane phase, take 20(l of the substrate water phase for assay.

(b) Animal tissue (Fish and shrimp)

┅┅Homogenize the sample with homogenizer

┅┅Weigh 2.0±0.05g homogenate to a 50ml polystyrene centrifuge tube, add 2ml deionized water, whorl it with gyroscope to paste, add 8ml acetonitrile with 10ml Graduated pipette, shake immediately with shaker for 20min,and then centrifuge for 5min, at least 3000g.

┅┅Take 2.5ml of the supernatant liquid to a 10ml clean test tube, dry it with 50～60℃ water bath nitrogen flow.

┅┅Add 1ml n-hexane to a 50ml polystyrene centrifuge tube ,dissolve the dry leftover by whorling for 20s with gyroscope, and then add 1ml 0.02 M phosphate buffer solution(see solution 1),and then whorl it for 1min with gyroscope, centrifuge for10min,at least 3000g.

┅┅Remove the supernatant n-hexane phase, take 20(l of the substrate for assay.

8.3 low limit samples

Animal tissue (chicken, chicken liver, pork, pig liver)

┅┅Homogenize the sample with homogenizer;

┅┅Weigh 2.0±0.05g homogenate to a 50ml polystyrene centrifuge tube, add 10ml extraction solution, shake with shaker for 10min, and then put it in 37℃ thermotank for 30min, centrifuge for 10min, at least 3000g, at 10℃.

┅┅Take 20(l of the supernatant liquid for assay.

8.4 Serum samples

┅┅Keep the blood sample at room temperature for 30min, and then centrifuge for 10min, at least 3000g, at 10℃, separate to obtain serum or filter to get the serum.

┅┅Take 1ml serum to a 10ml clean glass test tube, then add 3ml 0.02 M phosphate buffer solution (see solution 1), mix adequately.

┅┅Take 20(l of the prepared solution for assay.

8.5 Honey

┅┅Weigh 1.0±0.05g honey sample to a 50ml polystyrene centrifuge tube.

┅┅Add 2ml 0.5 M hydrochloric acid solution (see solution 2), shake until the honey completely dissolved with shaker.

┅┅Keep the tube in 37℃ incubator for 30min.

┅┅Add 5ml 0.2M sodium hydroxide solution(see solution 3)(pH value range:4～6）,shake for 1min,and then add 8ml Ethyl acetate, shake for 5min with shaker, centrifuge for 10min ,at least 3000g.

┅┅Take the supernatant organic phase 4ml to a 10ml clean glass test tube, dry it with 50～60℃ water bath nitrogen flow.

┅┅Add 0.5ml 0.02 M phosphate buffer solution (see solution 1) to dissolve the dry leftover;

┅┅Take 20(l of the prepared solution for assay.

8.6 Urine

┅┅Centrifuge the urine sample for 5min, at least 3000g, at room temperature (20-25℃) till it turns transparent.

┅┅Transfer 1ml transparent urine to a 10ml clean glass test tube, add 3ml extraction solution and mix completely.

┅┅Take 20(l of the prepared solution for assay.

8.7 Milk

┅┅Centrifuge the milk sample for 10min, at least 3000g, at 10℃, then remove the supernatant fat.

┅┅Take 1ml centrifuged milk sample, dilute with 0.02M phosphate buffer solution in the volume ratio of 1:19.

┅┅Take 20(l of the prepared solution for assay.

9. Assay process

9.1 Notice before assay

9.1.1 Make sure all reagents and micro wells are all at room temperature (20-25℃).

9.1.2 Return all the rest reagents to 2～8℃ immediately after used.

9.1.3 Washing the microwells correctly is an important step in the process of assay; it is the vital factor to the repetitiveness of the ELISA analysis.

9.1.4 Avoid the light and cover the microwells during incubation.

9.2 Assay Steps:

9.2.1 Take all reagents out at room temperature (20-25℃) for more than 30min, homogenize before use.

9.2.2 Get the microwells needed out and return the rest into the zip-lock bag at 2-8℃ immediately.

9.2.3 The diluted wash solution should be rewarmed to be at room temperature before use.

9.2.4 Number: Numbered every microwell positions and all standards and samples should be run in duplicate. Record the standards and samples positions.

9.2.5 Add standard solution/sample: Add 20 µl of standard solution or prepared sample to corresponding wells. Add 80µl antibody solution. Mix gently by rocking the plate manually and incubate for 30min at 25℃ with cover.

9.2.6 Wash: Remove the cover gently and pour the liquid out of the wells and rinse the microwells with 250µl diluted wash solution (solution 5) at interval of 10s for 4~5 times. Absorb the residual water with absorbent paper (the rest air bubble can be eliminated with unused tip).

9.2.7 Enzyme-labeled secondary antibody: Add Enzyme-labeled secondary antibody 100(l to each well, Mix gently by rocking the plate manually and incubate for 30min at 25℃ with cover. Repeat the wash step again.

9.2.8 Coloration: Add 50µl solution A and 50µl solution B to each well. Mix gently by rocking the plate manually and incubate for 15min at 25℃ with cover (see 12.8).

9.2.9 Measure: Add 50µl the stop solution to each well. Mix gently by rocking the plate manually and measure the absorbance at 450nm against an air blank (It’s suggested measure with the dual-wavelength of 450/630nm. Read the result within 5min after addition of stop solution. ) (We can also measure by sight without stop solution in short of the ELIASA instrument)

10. Results

There are 2 different methods to determinate the results. Method 1 led to a round estimation, and method 2 lead to definite quantity estimation. (Please notice: the absorption is inversely proportional to the SAs concentration in the sample.)

10.1 Round estimation

We can get the range of different strengths from the compare of average absorption and standards by sight. For example, the absorption of sample 1 is 0.211, sample 2 is 0.785, and the absorptions of SAs standard solutions: 2.100 (0ppb); 1.680(2ppb); 1.210(4ppb); 0.580(8ppb); 0.308(16ppb); 0.120(32ppb). So we can say the strength of diluted sample 1 is between 16ppb and 32ppb; and diluted sample 2 between 4ppb to 8ppb. In order to obtain the SAs actually contained in a sample, the diluted sample results must be further multiplied by the corresponding dilution factor.

10.2 Definite quantity estimation

（1）The mean values of the absorbance values obtained for the standards and the samples are divided by the absorbance value of the first standard (zero standard ) and multiplied by 100%. The zero standard is thus made equal to 100% and the absorbance values are quoted in percentages.

B ——absorbance standard (or sample)

B0 ——absorbance zero standard

（2）To draw a standard curve: Take the absorbance value of standards as y-axis, semi logarithmic of the concentration of the SAs standards solution (ppb) as x-axis.

--- The SAs concentration of each sample (ppb), which can be read from the calibration curve, is multiplied by the corresponding dilution rate of each sample followed, and the actual concentration of sample is obtained.

Please notice:

For evaluation of the ELISA kits special software has been developed for exact and rapid analysis. The analysis software can be ordered on request.

Dilution factor of samples：

Tissue samples:

(1) High limit samples：

Method(a) treated muscle, liver and egg samples：2

Method(b) treated fish and shrimp samples：2

(2) Low limit samples:

Muscle and liver： 5

(3) serum samples: 4

(4) honey samples：1

(5) urine samples：4

(6) milk samples：20

11. Sensitivity, accuracy and precision

Test Sensitivity: 2ppb

Detection limit:

Serum and urine…………………………………8ppb

Milk……………………………………40ppb

Detection limit of tissue sample:

High limit:

Muscle, liver and egg samples……………………… 4ppb

Fish and shrimp samples……………………………… 4ppb

Low limit:

Muscle and liver………………………………………10ppb

Accuracy:

Chicken, liver of chicken, pork, liver of pig…75±10%

Eggs………………………………………………69±10%

Honey, milk and serum…………………………70±10%

Precision:

Variation coefficient of the ELISA kit is less than 10%.

12. Notice

12.1 The mean values of the absorbance values obtained for the standards and the samples will be reduced if the reagents and samples have not been regulated to room temperature (20-25℃).

12.2 Do not allow microwells to dry between steps to avoid unsuccessful repetitiveness and operate the next step immediately after tap the microwells holder.

12.3. Homogenize each reagent before using.

12.4. Keep your skin away from the stop solution for it is the2M H2SO4 solution.

12.5 Don’t use the kits out of date. Don’t exchange the reagents of different batches, or else it will drop the sensitivity.

12.6 Storage condition:

Keep the ELISA kits at 2-8℃, do not freeze. Seal rest microwell plates Avoid straight sunlight during all incubations. Covering the microtiter plates is recommended.

12.7 Indications for the reagents going bad:

Substrate solution should be abandoned if it turns colors.

The reagents may be turn bad if the absorbance value (450/630nm) of the zero standard is less than 0.5(A450nm＜0.5).

12.8 The coloration reaction need 10-15min after the addition of solution A and solution B; But you can prolong the incubation time ranges from 20min to more if the color is too light to be determined., never exceed 30min,On the contrary, shorten the incubation time properly.

12.9 The optimal reaction temperature is 25℃. Higher or lower temperature will lead to the changes of sensitivity and absorbance values.

13. Storage condition and storage period

Storage condition: 2-8℃.

Storage period: 6 months