QuantiChromTM ATPase/GTPase Assay Kit (DATG-200)

DESCRIPTION

ATPases and GTPases catalyze the decomposition of ATP or GTP into ADP or GDP and free phosphate ion. These enzymes play key roles in transport, signal transduction, protein biosynthesis and cell differentiation.

BioAssay Systems’ QuantiChromTM ATPase/GTPase Assay Kit offers a highly sensitive method for determining ATPase/GTPase activities in a microplate format. Its proprietary formulation features a single reagent for accurate determination of enzyme activity in 30 min at room temperature. The improved malachite green reagent forms a stable dark green color with liberated phosphate, which is measured on a plate reader (600 - 660 nm).

KEY FEATURES

High sensitivity: detection of as little of 2 pmoles of free phosphate.

Fast and convenient: single reagent, homogeneous “mix-and-measure” assay allows quantitation of enzyme activity within 30 minutes.

Robust and amenable to HTS: detection at 620nm greatly reduces potential interference by colored compounds. Z’ factors of >0.7 are observed in 96-well and 384-well plates. Can be readily automated on HTS liquid handling systems.

APPLICATIONS

Determination of ATPase and GTPase activity.

Drug Discovery: high-throughput screen for ATPase or GTPase inhibitors.

KIT CONTENTS: 200 ASSAYS IN 96-WELL PLATE

Reagent: 50 mL	Assay Buffer: 10 mL

Standard: 1mL 1 mM phosphate

Storage conditions. The reagents and standard are stable for one year when stored at 4°C.

Precautions: reagent contains 0.27 M H2SO4. Normal precautions for laboratory reagents should be exercised while using the reagents. Please refer to Material Safety Data Sheet for detailed information.

Important: All reagents must be brought to room temperature before use. Before each assay, it is important to check that enzyme preparations and assay buffers do not contain free phosphate. This can be conveniently done by adding 200 µL of the Reagent to 40 µL sample solution. The blank OD values at 620 nm should be lower than 0.3. If the OD readings are higher than 0.3, check phosphate level. Lab detergents may contain high levels of phosphate. Make sure that lab wares are free from contaminating phosphate after thorough washes.

ACTIVITY DETERMINATION IN 96-WELL PLATE

1. Preparation of phosphate standards. Prepare 800 RL Premix solution containing 50 RM phosphate by mixing 40 RL 1 mM phosphate standard with 760 RL distilled water. Number the tubes. Dilute standards as shown in the following Table. Pipette 40 RL standard in duplicate into wells of a clear-bottom 96-well plate.

| No | Premix + H2O | Final Vol (RL) | Phosphate Conc (RM) | pmoles Phosphate in 40 RL |
| --- | --- | --- | --- | --- |
| 1 | 200RL + 0RL | 200 | 50 | 2,000 |
| 2 | 160RL + 40RL | 200 | 40 | 1,600 |
| 3 | 120RL + 80RL | 200 | 30 | 1,200 |
| 4 | 80RL + 120RL | 200 | 20 | 800 |
| 5 | 60RL + 140RL | 200 | 15 | 600 |
| 6 | 40RL + 160RL | 200 | 10 | 400 |
| 7 | 20RL + 180RL | 200 | 5 | 200 |
| 8 | 0RL + 200RL | 200 | 0 | 0 |

2.	Perform a series dilution of enzyme in assay buffer. Set up 40-RL reactions and a control with no enzyme in separate wells. Incubate the reaction for desired period of time (e.g. 30 min).

Reaction Well 	Control Well

20 RL Assay Buffer	20 RL Assay Buffer

10 RL enzyme	10 RL H2O

10 RL 4 mM ATP or GTP	10 RL 4 mM ATP or GTP

3.	Add 200 µL Reagent and incubate 30 min at room temperature. Please note: use of a multi-chanel pipettor is recommended. The Reagent terminates the enzyme reaction and generates color with the free phosphate produced in the enzyme reaction.

4.	Read OD620nm on a plate reader.

5.	Enzyme activity. Calculate AOD values by subtracting OD values in reaction and control wells. Choose an enzyme concentration that gives a AOD of 0.5 to 1, this will ensure that substrate hydrolysis (<10%) is within the linear kinetics of reaction. Compute the concentration of free phosphate produced from the standard curve. 1 Unit of activity is the amount of enzyme that catalyzes the production of 1 Rmole of free phosphate per minute under the assay conditions.

INHIBITOR ASSAY IN 96-WELL PLATE

To evaluate an inhibitor or perform HTS, use the optimal enzyme concentration determined above. Incubate enzyme and inhibitor first for a certain period of time, before adding the substrate. At the end of reaction, add 200 RL Reagent for phosphate determination.

Reaction Well 	Control Well

20 RL Assay Buffer	20 RL Assay Buffer

5 RL enzyme	10 RL 4 mM ATP or GTP

5 RL inhibitor	10 RL Buffer/DMSO

10 RL 4 mM ATP or GTP

ASSAYS IN 384-WELL PLATE

The procedure is similar as in the 96-well plate assay, except that 20 RL standards or 20 RL reaction mixture (10 RL Assay Buffer, 5 RL 4 mM ATP, 5 RL enzyme) are mixed with 80 RL Reagent.

GENERAL CONSIDERATIONS

Materials. Use ultrapure ATP and GTP. The provided 2x assay buffer contains 40 mM Tris, 80 mM NaCl, 8 mM MgAc2, 1 mM EDTA, pH 7.5. Other buffers (Hepes, Mes, Mops) can be used. Assay is compatible with 1 mM DTT, 2mM (3-mercaptoethanol, 0.5 mg/mL BSA and 5% DMSO.

0.8

0.8

ATPase/GTPase

ATPase/GTPase

0.6

0.6

96-well plate:  open circles

384-well plate: solid circles

96-well plate:  open circles

384-well plate: solid circles

0.4

0.4

0.2

0.2

0.0

0.0

0	10	20	30	40	50

0	10	20	30	40	50

[Phosphate], RM

0.8

0.8

0.6

0.6

0.4

0.4

0.2

0.2

0

0

1	2	3	4	5	6	7	8	9	10 11	12 13 14

1	2	3	4	5	6	7	8	9	10 11	12 13 14

BSA	DTT	(3ME	DMSO

Phosphate assays in 96-well plate. 1. H2O, 2. Phosphate, 3. ATP in H2O, 4. ATP/Phosphate in H2O, 5, 7, 9, 11, 13: ATP in Assay Buffer with, where indicated, 0.5 mg/mL BSA, 1 mM DTT, 2 mM (3-mercaptoethanol ((3ME) and 5% DMSO. 6, 8, 10, 12, 14: ATP/Phosphate in Assay Buffer. Phosphate and ATP were at 50 RM and 1 mM, respectively. The assay is not affected by these components.