Quantitative Colorimetric/Fluorimetric Determination of HDL and LDL/VLDL DESCRIPTION

Incubate 30 min at room temperature. Read OD values at 570 nm.

Note: if the Sample OD is higher than the Standard OD, dilute sample in assay buffer and repeat the assay. Multiply result by the dilution factor.

3. Calculation. Cholesterol concentrations in the Total, HDL and (LDL/VLDL) fractions are calculated as follows,

Incubate 30 min at room temperature. Read OD values at 570 nm.

Note: if the Sample OD is higher than the Standard OD, dilute sample in assay buffer and repeat the assay. Multiply result by the dilution factor.

3. Calculation. Cholesterol concentrations in the Total, HDL and (LDL/VLDL) fractions are calculated as follows,

[Total.'

[Total.'

„ = ODTOTAL – ODBLANK

ODSTANDARD – ODBLANK x 100 (mg/dL)

„ = ODTOTAL – ODBLANK

ODSTANDARD – ODBLANK x 100 (mg/dL)

[LDL/VLDL] = ODLDL/VLDL – ODBLANK

ODSTANDARD – ODBLANK x 100 (mg/dL)

FLUORIMETRIC PROCEDURE

Dilute the Samples and Standard prepared in Colorimetric Procedure 1:5 in Assay Buffer. Transfer 50 11L standards and 50 11L samples into separate wells of a black 96-well plate.

Add 50 11L Working Reagent (see Colorimetric Procedure). Tap plate to mix. Incubate 30 min at room temperature and read fluorescence at A,ex = 530nm and A,em = 585nm.

Note: if the Sample F is higher than the Standard F, dilute sample in assay buffer and repeat the assay. Multiply result by the dilution factor.

The cholesterol concentration of Sample is calculated as

[LDL/VLDL] = ODLDL/VLDL – ODBLANK

ODSTANDARD – ODBLANK x 100 (mg/dL)

FLUORIMETRIC PROCEDURE

Dilute the Samples and Standard prepared in Colorimetric Procedure 1:5 in Assay Buffer. Transfer 50 11L standards and 50 11L samples into separate wells of a black 96-well plate.

Add 50 11L Working Reagent (see Colorimetric Procedure). Tap plate to mix. Incubate 30 min at room temperature and read fluorescence at A,ex = 530nm and A,em = 585nm.

Note: if the Sample F is higher than the Standard F, dilute sample in assay buffer and repeat the assay. Multiply result by the dilution factor.

The cholesterol concentration of Sample is calculated as

| [Total] = | FTOTAL – FBLANK FSTANDARD – FBLANK x 100 (mg/dL) |
| --- | --- |

| [Total] = | FTOTAL – FBLANK FSTANDARD – FBLANK x 100 (mg/dL) |
| --- | --- |

[HDL] =	FHDL – FBLANK

x 100 (mg/dL)

FSTANDARD – FBLANK

[HDL] =	FHDL – FBLANK

x 100 (mg/dL)

FSTANDARD – FBLANK

| [LDL/VLDL] = | FLDL/VLDL – FBLANK FSTANDARD – FBLANK x 100 (mg/dL) |
| --- | --- |

| [LDL/VLDL] = | FLDL/VLDL – FBLANK FSTANDARD – FBLANK x 100 (mg/dL) |
| --- | --- |

MATERIALS REQUIRED, BUT NOT PROVIDED

Pipetting devices, 96-well plate and plate reader.

EXAMPLES

Serum samples were run in duplicate according to the standard procedure.

MATERIALS REQUIRED, BUT NOT PROVIDED

Pipetting devices, 96-well plate and plate reader.

EXAMPLES

Serum samples were run in duplicate according to the standard procedure.

200

200

150

150

100

100

50

50

0

0

118

118

16

16

106

106

134

134

78

78

68

68

109

109

13

13

89

89

Total

HDL LDL/VLDL

Total

HDL LDL/VLDL

53

53

31

31

22

22

Human	Bovine	Goat	Rat

Human	Bovine	Goat	Rat

[HDL] = ODHDL – ODBLANK

[HDL] = ODHDL – ODBLANK

ODSTANDARD – ODBLANK x 100 (mg/dL)

ODSTANDARD – ODBLANK x 100 (mg/dL)

CHOLESTEROL concentrations in High-Density Lipoprotein (HDL) and Low-Density (LDL)/Very-Low-Density (VLDL) Lipoproteins are strong predictors for coronary heart disease. Functional HDL offers protection by removing cholesterol from cells and atheroma. Higher concentrations of LDL and lower concentrations of functional HDL are strongly associated with cardiovascular disease due to higher risk of atherosclerosis. The balances between high- and low-density lipoproteins are solely genetically determined, but can be changed by medications, food choices and other factors.

Simple, direct and automation-ready procedures for measuring HDL and LDL/VLDL concentrations are very desirable. BioAssay Systems' HDL and LDL/VLDL quantification kit is based on our improved PEG precipitation method in which HDL and LDL/VLDL are separated, and cholesterol concentrations are determined using a single Working Reagent that combines cholesterol ester hydrolysis, oxidation and color reaction in one step. The color intensity of the reaction product at 570nm or fluorescence intensity at A,em/ex = 585/530nm is directly proportional to total cholesterol concentration in the sample.

APPLICATIONS

Direct Assays: HDL and LDL/VLDL cholesterol in serum samples. Pharmacology: evaluation of drugs on cholesterol metabolism.

KEY FEATURES

Sensitive and accurate. Linear detection range in 96-well plate: 1 to 100 mg/dL cholesterol for colorimetric assays and 0.2 to 20 mg/dL for fluorimetric assays.

Convenient. Room temperature assay. No 37°C heater is needed.

KIT CONTENTS (100 assays in 96-well plates)

PBS: 2 x 1.5 mL	Precipitation Reagent: 1.5 mL

Assay Buffer: 20 mL	Enzyme Mix: 120 uL

Dye Reagent: 120 11L Standard: 1 mL 300mg/dL cholesterol

Storage conditions. Store PBS and Precipitation Reagent at room temperature and the rest reagents at -20°C. Shelf life of at least 6 months (see expiry dates on labels).

Precautions: reagents are for research use only. Normal precautions for laboratory reagents should be exercised while using the reagents. Please refer to Material Safety Data Sheet for detailed information.

COLORMETRIC PROCEDURES

Important: bring all reagents except enzyme mix to room temperature prior to assay. Non-hemolyzed serum samples should be used.

1. Sample Preparation. Transfer 20 11L serum into a 1.5-mL centrifuge tube, add 20 11L Precipitation Reagent. Vortex to mix and centrifuge 5 min at 9,500 x g (e.g. 9,500 rpm in an Eppendorf 5415C tabletop centrifuge).

Carefully transfer 24 11L supernatant into a clean tube, add 96 11L Assay Buffer. Label this tube “HDL”.

Carefully remove all remaining supernatant from the pellet. Transfer 40 11L PBS to the pellet and mix by repeated pipetting. Transfer 24 11L mixture into another clean tube, add 96 11L Assay Buffer. Label this tube “LDL/VLDL”.

In a third tube, transfer 12 11L serum sample and mix well with 108 11L Assay Buffer. Label this tube “Total”.

Cholesterol Standard: transfer 5 11L 300 mg/dL cholesterol and mix with 145 11L Assay Buffer. Label this tube “Standard”.

2. Assay. Transfer 50 11L Assay Buffer (“Blank”), 50 11L Standard, 50 11L “Total”, 5011L “HDL” and 50 11L “LDL/VLDL” into wells of a clear flat-bottom 96-well plate. If desired, run assays in duplicate.

For each reaction well, mix 55 11L Assay Buffer with 1 11L Enzyme Mix and 1 11L Dye Reagent. Add 50 11L of this Working Reagent to each standard and sample well. Tap plate to mix well.

LITERATURE

[1].	Viikari J. (1976). Precipitation of plasma lipoproteins by PEG 6000 and its evaluation with electrophoresis and ultracentrifugation. Scand J Clin Lab Invest 36:265-268.

[2].	Demacker, PMN et al. (1980). A study of the use of polyethylene glycol in estimating cholesterol in high density lipoprotein. Clin Chem 26:1775-1779.

[3].	Widhaim, K. and Pakosta, R. (1991). Precipitation with Polyethylene Glycol and Density-Gradient Ultracentrifugation Compared for Determining High-Density Lipoprotein Subclasses HDL2 and HDL3. Clin. Chem 37/2, 238-240.