Competitive enzyme immunoassay kit for

quantitative analysis of Furazolidone metabolite (AOZ)

(For Aquatic Products ,Type II )

- Background

Nitrofurans are synthetic broad-spectrum antibiotics, which are frequently employed in animal product for its excellent antibacterial and pharmacokinetic properties. They had been also used as growth promoters in the pig, the poultry and aquatic product. In long term studies with experimental animals the parent drugs and their metabolites showed carcinogenic and mutagenic characteristics. This has led to a prohibition of nitrofurans for the treatment of animals used for food product. The nitrofuran drugs furaltadone, nitrofurantoin and nitrofurazone were banned from use in food animal product in the EU in 1993, and the use of furazolidone was prohibited in 1995.

The analysis of nitrofuran drugs residue needs to be based on the detection of the tissue bound metabolites of the nitrofuran parent drugs. Since the parent drugs are very rapidly metabolized, and the tissue bound nitrofuran metabolites will retain for a long time, therefore the metabolites are used as the target in the detection of the abuse of nitrofurans. Furazolidone metabolite (AOZ), Furaltadone metabolite (AMOZ), Nitrofurantoin metabolite (AHD) and Nitrofurazone metabolite (SEM).

AOZ-residues are determined most commonly by LC-UV, LC-MS, or LC-MS/MS techniques. Enzyme immunoassays, compared with chromatographic methods, show considerable advantages regarding sensitivity, detection limit, technical equipment and time requirement.(time cost: 1.5h)

2. Test Principle

This ELISA kit is designed to detect furazolidone metabolite (AOZ) based on the principle of “indirect-competitive” enzyme immunoassay. The microtiter wells are coated with capture BSA-linked antigen. AOZ in sample competes with the antigen coated on the microtiter plate for the antibody. After the addition of horseradish peroxidase labeled anti-antibody, tetramethyl-benzidine (TMB)/peroxide substrate is used and the signal is measured by spectrophotometer. The absorption is inversely proportional to the AOZ concentration in the sample.

3. Applications

This kit can be used in quantitative and qualitative analysis of AOZ residue in aquatic products (fish and shrimp), etc.

4. Cross-reactions

furazolidone metabolite…………………………   100%

Furaltadone metabolite…………………………  < 0.1%

Nitrofurantoin metabolite…………………  < 0.1%

Furacilinum metabolite………………………  <0.1%

furazolidone…………………………  16.3%

Furaltadone…………………………  <1%

Nitrofurantoin…………………………  <1%

Furacilinum………………………  <1%

5. Materials Required

5.1 Equipments:

----Microtiter plate spectrophotometer(450nm/630nm)

----Rotary evaporator or nitrogen drying instruments

----Homogenizer or stamocher

----Shaker

----Gyroscope  or vortex mixer

----Centrifuge

----Analytical balance (inductance: 0.01g)

----Graduated pipette: 10ml

----Rubber pipette bulb

----Volumetric flask: 10ml, 100ml, 1L

----Glass flask: 10ml

----Polystyrene centrifuge tube: 2ml, 10ml, 50ml

----Glass centrifuge tube: 10ml, 15ml

----Micropipettes: 20ul～200ul, 100ul～10000ul, 250ul-multipipette

Reagents:

Ethyl acetate (AR)

n-Hexane (AR)

Potassium phosphate dibasic trihydrate (K2HPO4.3H2O ) (AR)

Methyl alcohol (AR)

Sodium nitroprusside dihydrate (Na2Fe(CN)5·NO·2H2O) (AR, Milk only)

Zinc sulfate heptahydrate (ZnSO4·7 H2O) (AR, Milk only)

Concentrated hydrochloric acid

Sodium hydroxide (NaOH) (AR)

Deionized water

6. Kit Components

1、Microtiter plate with 96 wells coated with coupling antigen

2、standard solutions(6 bottles)

0ppb,0.025ppb,0.075ppb,0.225ppb,0.675ppb,2.025ppb

3、High concentration standard control:(1ml/bottle)  100ppb

4、enzyme-labeled secondary antibody solution 1.5 ml ………red cap

5、Concentrated antibody solution   0.8ml ……green cap

6、Solution A  7ml…………white cap

7、Solution B   7ml…………red cap

8、stop solution 7ml …………yellow cap

9、20×concentrated wash solution 40ml ……transparent cap

10、2×concentrated extraction solution    50ml……blue cap

11、dinitrobenzal-dehyde 15.1mg………black cap

7. Reagents Preparation:

Solution 1: Derivative Reagent: add methyl alcohol to the bottle with dinitrobenzal-dehyde and diluted to 10ml. (At the concentration of 10mM ).

Solution 2: 0.1M dipotassium hydrogen phosphatesolution

Weigh 22.8g Potassium phosphate dibasic trihydrate and dissolved with deionized water to 1L.

Solution 3: 1M Hydrochloric acid solution

Transfer 8.3ml concentrated hydrochloric acid and dilute to 100ml with deionized water.

Solution 4: 1M sodium hydrate solution

Weigh 4.0g sodium hydrate and dissolve with deionized water and dilute to 100ml.

Solution 5: extraction solution

Dilute 2×concentrated extraction solution with deionized water in the volume ratio of 1:1. This solution can be conserved for 1month at 4℃.

Solution 6: wash solution :

Dilute the 20×concentrated wash solution with deionized water in the volume ration of 1:19,which will be used to wash the plates. This diluted solution can be conserved for 1 month at 4℃.

8. Sample Preparations

8.1 Notice and precautions for the users before operation:

(a) Please use one-off tips in the process of experiment, and change the tips when absorbing different reagent.

(b) Make sure that all experimental instruments are clean.

(c) the derivative reagent can be conserved at 2-8℃ for half a year;

(d) Potassium phosphate dibasic solution can be conserved at 2-8℃ for three months;

(e) The hydrochloric acid solution can be conserved at room temperature for 3 months;

(f) The sodium hydroxide solution can be conserved for 3 months at room temperature;

(g) Keep untreated samples in freeze;

(h) Treated samples can be conserved for 24h at 2-8℃ in darkness .

8.2 Aquatic products samples:

┅┅Homogenize the samples with homogenizer or stamocher;

┅┅Weigh 1.0±0.05g of the homogenate into a 50ml polystyrene centrifuge tube, add 4ml deionized water, 0.5ml 1M hydrochloric acid (see solution 3) and 100(l derivative reagent (see solution 1), shake completely for 2min;

┅┅Incubate at 37 ℃ over night ( about 16h);

┅┅Add 5ml 0.1M Potassium phosphate dibasic solution (see solution 2) ,0.4ml 1M sodium hydroxide solution (see solution 4) and 5ml ethyl acetate, shake fiercely for 30s;

┅┅ Centrifuge at room temperature (20-25℃) for 10min, at least 3000g;

┅┅Take 2.5ml of the supernatant organic phase into a 10ml clean glass tube, dry with 50℃ nitrogen gas or Rotary Evaporator;

┅┅Dissolve the dry leftover with 1ml n-hexane (or normal heptane ), add 1ml extraction solution (see solution 5) , mix completely  ( for samples high in fat, please increase the volume of n-hexane, and dissolve the dry leftover with 3ml n-hexane);

┅┅Centrifuge at room temperature (20-25oC) for 10min, at least 3000g;

┅┅Remove the supernatant organic phase, take 50(l of the substrate water phase for assay;

9. Assay process

9.1 Notice before assay:

9.1.1 Make sure all reagents and microwells are all at room temperature (20-25℃).

9.1.2 Return all the rest reagents to 2～8℃ immediately after used.

9.1.3 Washing the microwells correctly is an important step in the process of assay; it is the vital factor to the reproducibility of the ELISA analysis.

9.1.4 Avoid the light and cover the microwells during incubation.

9.2 Assay Steps:

9.2.1 Take all reagents out at room temperature (20-25℃) for more than 30min, homogenize before use.

9.2.2 Get the microwells needed out and return the rest into the zip-lock bag at 2-8℃ immediately.

9.2.3 The diluted wash solution should be rewarmed to be at room temperature before use.

9.2.4 Number: Numbered every microwell positions and all standards and samples should be run in duplicate. Record the standards and samples positions.

9.2.5 Dilution of antibody solution : dilute the concentrated antibody solution with extraction solution in the volume ratio of 1:10;

9.2.6 Add standard solution / sample: Add 50µl of standard solution or prepared sample to corresponding wells, add 50µl antibody solution. Mix gently by rocking the plate manually and incubate for 30min at 25℃ with cover.

9.2.7 Wash: Remove the cover gently and pure the liquid out of the wells and rinse the microwells with 250µl diluted wash solution (solution 6) at interval of 10s for 4~5 times. Absorb the residual water with absorbent paper (the rest air bubble can be eliminated with unused tip).

9.2.8 dilution of enzyme labeled secondary antibody solution: dilute the concentrated enzyme labeled secondary antibody solution with extraction solution in the volume ratio of 1:10;

9.2.9 Add enzyme labeled secondary antibody solution: add enzyme labeled secondary antibody solution  100(l to each well, mix gently, incubate for 30min at 25℃ in darkness with cover, take out and repeat the Wash Step;

9.2.10  Coloration: Add 50µl solution A and 50µl solution B to each well. Mix gently by rocking the plate manually and incubate for 15min at 25℃ with cover(see 12.8).

9.2.11 Measure: Add 50µl the stop solution to each well. Mix gently by rocking the plate manually and measure the absorbance at 450nm against an air blank (It’s suggested measure with the dual-wavelength of 450/630nm. Read the result within 5min after addition of stop solution. ) (We can also measure by sight without stop solution in short of the ELIASA instrument)

10. Results

There are 2 different methods to determinate the results. Method 1 leads to a round estimation, and method 2 leads to definite quantity estimation. (Please notice: the absorption is inversely proportional to the AOZ concentration in the sample.)

10.1 Round estimation

We can get the range of different strengths from the compare of average absorption and standards by sight. For example, the absorption of sample 1 is 0.301, sample 2 is 0.712, and the absorptions of AOZ standard solutions: 2.02 (0ppb); 1.489(0.025ppb); 0.977(0.075ppb); 0.622(0.225ppb); 0.348(0.675ppb); 0.190(2.025ppb). So we can say the strength of diluted sample 1 is between 0.675ppb and 0.348ppb; and diluted sample 2 between 0.075ppb to 0.225ppb. In order to obtain the AOZ actually contained in a sample, the diluted sample results must be further multiplied by the corresponding Dilution factor.

10.2 Definite quantity estimation

(1) The mean values of the absorbance values obtained for the standards and the samples are divided by the absorbance value of the first standard (zero standard ) and multiplied by 100%. The zero standard is thus made equal to 100% and the absorbance values are quoted in percentages.

B

Absorbance (%) = —— ×100%

B0

B ——absorbance standard (or sample)

B0 ——absorbance zero standard

(2) To draw a standard curve: Take the absorbance value of standards as y-axis, semi logarithmic of the concentration of the AOZ  standards solution (ppb) as x-axis.

--- The AOZ concentration of each sample (ppb), which can be read from the calibration curve, is multiplied by the corresponding Dilution factor of each sample followed, and the actual concentration of sample is obtained.

Please notice:

For evaluation of the ELISA kits special software has been developed for exact and rapid analysis. The analysis software can be ordered on request.

Dilution factor of samples：

Aquatic products：2

11. Sensitivity, accuracy and precision

Test Sensitivity:0.025ppb

Detection limit:

Because aquatic products like fish and shrimp have some interference , the detection limit is 0.1ppb ;

Accuracy:

aquatic products…………………………………… 80±15%

Precision:

Variation coefficient of the ELISA kit is less than 10%.

12. Notice

12.1 The mean values of the absorbance values obtained for the standards and the samples will be reduced if the reagents and samples have not been regulated to room temperature ( 20-25℃).

12.2 Do not allow microwells to dry between steps to avoid unsuccessful reproducibility and operate the next step immediately after tap the microwells holder.

12.3. Homogenize each reagent before using.

12.4. Keep your skin away from the stop solution for it is the 2M H2SO4 solution.

12.5 Don’t use the kits out of date. Don’t exchange the reagents of different batches, or else it will drop the sensitivity.

12.6 Storage condition:

Keep the ELISA kits at 2-8℃,do not freeze. Seal rest microwell plates, Avoid straight sunlight during all incubations. Covering the microtiter plates is recommended.

12.7 Indications for the reagents going bad:

Substrate solution should be abandoned if it turns colors.

The reagents may be turn bad if the absorbance value (450/630nm) of the zero standard is less than 0.5(A450nm＜0.5).

12.8 The coloration reaction need 10~15min after the addition of solution A and solution B; But you can prolong the incubation time to 20min or more if the color is too light to be determined., never exceed 30min,On the contrary, shorten the incubation time properly.

12.9 The optimal reaction temperature is 25℃. Higher or lower temperature will lead to the changes of sensitivity and absorbance values.

13. Storage condition and storage period

Storage condition: 2-8℃.

Storage period: 12 months.