# YK050 Rat Leptin ELISA Kit

Leptin, which is a product of ob gene, is a protein consisting of 167 amino acids and it is secreted from white adipose tissue. It is known that leptin acts on hypothalamus to decrease food intake and to reduce body weight, body fat, blood sugar and blood insulin in a healthy and an ob/ob mouse. Further, gene expression of neuropeptide Y (NPY) is suppressed by leptin.Recently, radioimmunoassay for leptin determination in human plasma has become available and leptin level in human patient group with obesity was found to increase in comparison with that of normal group.

The level well correlate with body fat and these observations show clearly that leptin concentration in human plasma reflects the tissue fat weight. The measurement of plasma leptin may be an excellent index of obesity. Although rat leptin shows a high homology (96%) with mouse leptin, it is observed that substitution of several amino acid residues occurs at both end N- and Cterminal region between human and rat leptin. These findings have required urgently to develop highly sensitive immunoassay system specific to rat leptin.

Yanaihara Insutitute Inc. has developed the enzyme immunoassay (EIA) kit, which is a stable and convenient assay system for measuring rat leptin in its plasma, serum and culture supernatant.

YK050 Rat Leptin ELISA Kit 	Contents

▼ 	The assay kit can measure Leptin in the range of 	1) Antibody coated plate

312.5-20000 pg/mL (plasma or serum) and 78.1-5000pg/mL	2) Rat leptin standard

(non-plasma & non-serum sample, culture supernatant)	3) HRP-labeled antibody

▼ 	The assay completes within 5.5 hours 	4) Substrate buffer

▼ 	With one assay kit, 40 samples can be measured	5) OPD tablet

in duplicate 	6) Stopping solution

▼ 	Test sample: Serum, plasma or non-plasma & non-serum 	7) Buffer solution A

sample, culture supernatant 	8) Buffer solution B

Sample volume: Plasma or serum 20 μL 	9) Washing solution(concentrated)

Non-plasma & non-serum sample, culture supernatant 50 μL 	10) Adhesive foil

▼ 	The 96-well plate in kit was consisted by

8-wells strips. The kit can be used separately.

▼ 	Intra-assay CV（％）3.9 - 4.5

Inter-assay CV（％）6.2 - 9.5

▼ 	Stability and Storage

Store all of the components at 2-8℃.

8 months from the date of manufacturing.

The expiry date is described on the label of kit.

< Specificity >

The EIA kit has high specificity to rat leptin and shows less than 0.02% - 0.04% cross reactivity to human leptin. And it has no cross reactivity with rat IL-1α, IL-1β, rat TNF-α, human TNF-α and other cytokines.

<Analytical recovery>

Serum 87.9-108.5%, Culture supernatant 99.3-108.0