# YK081 Rat PYY EIA Kit

This enzyme immunoassay (EIA) kit is a stable and convenient assay system for peptide YY (PYY).

PYY was isolated initially by Tatemoto et al. (1980 ) from the extract of pig duodenum and shown to be a polypeptide consisting of 36 amino acid residues. PYY is homologous to pancreatic polypeptide (PP) and neuropeptide Y (NPY). PYY is localized mainly in endocrine cells in the intestine (ileum, colon, and

rectum). PYY shows an inhibitory action on contraction of the gastrointestinal tract and on secretion of

pancreatic and gastric juice. PYY is released by taking diet. The PYY level decreases after resection of the intestine possibly are due to the decrease in number of the endocrine cells secreting PYY.

The EIA kit is prepared by using synthetic rat PYY as standard antigen and biotinylated rat PYY as

labeled antigen. The kit contains specific polyclonal antibody recognized to the amino acid sequence of rat PYY.

YK081 Rat PYY EIA Kit 	Contents

▼ 	The assay kit can measure rat PYY in the 	1) Antibody coated plate

range of 50-30000 pg/mL 	2) Rat PYY standard

▼ 	The assay completes within 16-20 hr.＋2.5 hr. 	3) Labeled antigen

▼ 	With one assay kit, 40 samples can be measured 	4) PYY antibody

in duplicate 	5) SA-HRP solution

▼ 	Test sample: rat plasma 	6) Substrate buffer

Sample volume: 25 μL	7) OPD tablet

▼ 	The 96-well plate in kit was consisted by 	8) Stopping solution

8-wells strips. The kit can be used separately. 	9) Buffer solution (concentrated)

▼	Rat plasma measurement 	10) Washing solution (concentrated)

Intra-assay CV(%) 7.95 - 12.81	11) Adhesive foil

Inter-assay CV(%) 11.95 - 13.61

▼ 	Stability and Storage

Store all of the components at 2-8°C.

6 months from the date of manufacturing.

The expiry date is described on the label of kit.

< Specificity>

The EIA kit shows 10% cross reactivity to human PYY and less than 0.01% cross reactivity to human and rat NPY that has similar amino acid sequence with rat PYY.

<Analytical recovery>

Rat plasma 97.01-115.79%