# YK150 Human S-100βELISA Kit

Human S-100 protein has a molecular weight of 21K Dalton and is consist of two subunits, α chain

and β chain. It is known that combination of these subunits is different from the location in human

body. S-100ββis localized in glial cell and schwann cell, S-100αβin glial cell and S-100ααin

striated muscle, heart and kidney.

It was reported that the concentration of S-100β in cerebrospinal fluid was an useful marker for

diagnosis of the degree of brain damage after head injury, cerebral hemorrhage and ischemic stroke.

And recently another report described that the increasing of S-100β in blood correlated to the

degree of brain damage after cerebral ischemia, infarction, hemorrhage and severe head injury.

YK150 Human S-100βELISA Kit Contents

▼ 	The assay kit can measure S-100βin the 	1) Antibody coated plate

range of 98-6300 pg/mL 	2) S-100βstandard

▼ 	The assay completes within 15-24 hr.+4.5 hr. 	3) Labeled antigen

▼ 	With one assay kit, 40 samples can be measured 	4) SA-HRP solution

in duplicate 	5) Substrate buffer

▼ 	Test sample: human plasma 	6) OPD tablet

Sample volume: 30 μL	7) Stopping solution

▼ 	The 96-well plate in kit was consisted by 	8) Buffer solution

8-wells strips. The kit can be used separately. 	9) Washing solution (concentrated)

▼ 	Human plasma measurement 	10) Adhesive foil

Intra-assay CV (%) 2.33 - 11.54

Inter-assay CV (%) 2.91 - 7.77

▼ 	Stability and Storage

Store all of the components at 2-8°C.

3 months from the date of manufacturing.

The expiry date is described on the label of kit.

<Specificity>

The ELISA kit shows 1% cross reactivity to Human S-100αα and 74% to Human S-100αβ.

<Analytical recovery>

Human plasma A 108-91-115.44%

Human plasma B 112.32-124.59%

Human plasma C 111.70-116.04%